M.Tech. DEGREE

(Process Control and Instrumentation)


[image: image1.png]



SYLLABUS FOR

CREDIT BASED CURRICULUM
2010 – 2011
onwards
Department of Chemical Engineering

and

Department of Instrumentation and Control Engineering
NATIONAL INSTITUTE OF TECHNOLOGY
TIRUCHIRAPPALLI - 620 015.

M.Tech. PROCESS CONTROL & INSTRUMENTATION

Course Structure and Scheme of Evaluation (Semester – wise)

[The total minimum number of credits = 64]

	Code MPC
	Name of the Subject
	Hours / week

L      T      P
	Credit

	SEMESTER I

	CL 651
	Instrumentation 
	   3       0       0
	3

	CL 653
	Modern Control System
	   3       0       0
	3

	CL 601
	Advanced Process Control
	   2       1       0
	3

	CL 603
	Process Modeling and Simulation
	   2       1       0
	3

	
	Elective I
	   3       0       0
	3

	
	Elective II
	   3       0       0
	3

	CL 659
	Process Control Laboratory
	   0       0       3
	2

	                                       Total number of credits in Semester I
	20

	SEMESTER II

	CL 652
	Computer Control of Process
	   3       0       0
	3

	CL 654
	Industrial Communication Systems
	   3       0       0
	3

	CL 656
	System Identification
	   3      0        0
	3

	
	Elective III
	   3       0       0
	3

	
	Elective IV
	   3       0       0
	3

	
	Elective V
	   3       0       0
	3

	CL 698
	Control & Instrumentation Lab 
	   0       0       3
	2

	                                     Total number of credits in Semester II
	20

	SEMESTER III

	CL 697
	Project Work 
	12

	                                 Total number of credits in Semester – III
	12

	SEMESTER IV

	CL 798
	Project Work 
	12

	                                 Total number of credits in Semester – IV
	12

	Total Credits in the Course
	64


Elective I & II:

	CL 661
	Chemical Process Systems

	CL 663
	Process Dynamics

	CL 665
	Instrumentation for Environmental Analysis

	
	Any PG Elective from other Department 


Elective III, IV & V
	CL 658
	Distillation Control

	CL 660
	Bio process instrumentation and Control

	CL 662
	Fuzzy logic and Neural Networks

	CL 664
	Internet for measurement Control

	
	Any PG Elective from other Department 


List of Reserved Electives

	CL 666
	Logic and Distributed Control System

	CL 667
	Computer Networks

	CL 668
	Multi Sensor Data Fusion

	CL 669
	Optimal Control Theory

	CL 670
	Stochastic Processes and Estimation theory

	CL 671
	Bioprocess Engineering

	CL 672
	Digital Control System Design

	CL 673
	Discrete Output Feedback Control

	CL 674
	Chemical Process Flow sheeting

	CL 675
	Real Time and Embedded Systems

	CL 676
	Virtual Instrumentation

	CL 677
	Adaptive Control

	CL 678
	Microelectro-Mechanical Systems

	CL 679
	Advanced Applied Process Control

	CL 680
	Piping and Instrumentation

	CL 681
	Modeling with Data

	CL 683
	Probability and Computing

	CL 685
	Computational Techniques in Control Engineering


CL 651 INSTRUMENTATION

General concepts and terminology of measurement systems, static and dynamic characteristics, errors, standards and calibration.

Introduction, principle, construction and design of various active and passive transducers. Introduction to semiconductor sensors and its applications.

Design of signal conditioning circuits for various Resistive, Capacitive and Inductive transducers and piezoelectric transducer.

Introduction to transmitters, two wire and four wire transmitters, Smart and intelligent Transmitters. Design of transmitters. 

Introduction to EMC, interference coupling mechanism, basics of circuit layout and grounding, concept of interfaces, filtering and shielding.

Safety: Introduction, electrical hazards, hazardous areas and classification, non-hazardous areas, enclosures – NEMA types, fuses and circuit breakers. Protection methods: Purging, explosion proofing and intrinsic safety.
TEXT BOOKS:

1. John P. Bentley, Principles of Measurement Systems, Third edition, Addison Wesley Longman Ltd., UK, 2000.

2. Doebelin E.O, Measurement Systems - Application and Design, Fourth edition, McGraw-Hill International Edition, New York, 1992.         

REFERENCES:

1. M. Sze, “Semiconductor sensors”, John Wiley & Sons Inc., Singapore, 1994. 

2. Noltingk B.E., “Instrumentation Reference Book”, 2nd Edition, Butterworth Heinemann, 1995.

3. L.D.Goettsche, “Maintenance of Instruments and Systems – Practical guides for measurements and control”, ISA, 1995.
CL 653 MODERN CONTROL SYSTEM

System Models

Examples, Building blocks of state space models, Canonical forms, State equation and its solution, Properties of the state transition matrix, Special cases, Modelling Discrete-time systems with delay operators.

Numerical Computations

Basic linear algebra, Eigenvalues and Eigenvectors, Similarity transformation, Gram-Schmidt Orthonormalization, Computing the matrix exponential using different algorithms, State transition matrix for discrete-time systems, Computational complexity.

Stability

Modelling energy of the system in terms of quadratic functions, Lyapunov’s criterion for continuous- and discrete-time systems, Numerical methods for solving the Lyapunov equation, Computational complexity.

Controllability & Observability

Definitions, Rank tests, Computational methods of determining rank, Computational complexity, Lyapunov equation and Grammians.

Design in State Space

State feedback control for controllable canonical form, State feedback control in general, State feedback for discrete-time systems, Computational algorithms and their complexity, Output feedback control. Full-order and reduced-order observers, Physical aspects of control system design in state space.

TEXT BOOKS/REFERENCES
1. Ramakalyan, A., Control Engineering: A Comprehensive Foundation, Vikas Publishing House, New Delhi, 2003.

2. Ogata, K., Discrete-Time Control Systems, 2/e, Prentice Hall of India.

3. Datta, B.N., Numerical Methods for Linear Control Systems, Elsevier, 2004.      (A cheaper Indian reprint is available)

CL 601 ADVANCED PROCESS CONTROL
Review of Systems: Review of first and higher order systems, closed and open loop response. Response to step, impulse and sinusoidal disturbances. Transient response. Block diagrams. 

Stability Analysis: Frequency response, design of control system, controller tuning and process identification. Zigler-Nichols and Cohen-Coon tuning methods, Bode and Nyquist stability criterion. Process identification.

Special Control Techniques: Advanced control techniques, cascade, ratio, feed forward, adaptive control, Smith predictor, internal model control.      
Multivariable Control Analysis:  Introduction to state-space methods, , Control degrees of freedom analysis and analysis, Interaction, Bristol arrays, Niederlinski index - design of controllers, Tuning of multivariable controllers.

Sample Data Controllers: Basic review of Z transforms, Response of discrete systems to various inputs. Open and closed loop response to step, impulse and sinusoidal inputs, closed loop response of discrete systems. Design of digital controllers. Introduction to PLC and DCS.
TEXT BOOKS:

1.  D.R. Coughanour, ‘Process Systems analysis and Control’, McGraw-Hill, 2nd Edition, 1991.

2.  D.E. Seborg, T.F. Edger, and D.A. Millichamp, ‘Process Dynamics and Control’, John Wiley and Sons, 2nd Edition, 2004.
 REFERENCES:

1 B.A.Ogunnaike and W.H.Ray, “Process Dynamics, Modelling and Control”, Oxford Press, 1994.

2 W.L.Luyben, ‘Process Modelling Simulation and Control for Chemical Engineers’, McGraw Hill, 2nd Edition, 1990.
3 B.W. Bequette, ‘Process Control: Modeling, Design and Simulation’, PHI, 2006.
4 S. Bhanot, ‘Process Control: Principles and Applications’, Oxford University Press, 2008.
CL 603 PROCESS MODELLING AND SIMULATION
Introduction to modelling, a systematic approach to model building, classification of models. Conservation principles, thermodynamic principles of process systems.

Development of steady state and dynamic lumped and distributed parameter models based on first principles. Analysis of ill-conditioned systems.

Development of grey box models. Empirical model building. Statistical model calibration and validation. Population balance models. Examples.

Solution strategies for lumped parameter models. Stiff differential equations. Solution methods for initial value and boundary value problems. Euler’s method. R-K method, shooting method, finite difference methods. Solving the problems using MATLAB/SCILAB.

Solution strategies for distributed parameter models. Solving parabolic, elliptic and hyperbolic partial differential equations. Finite element and finite volume methods. 

TEXT BOOKS:

1. K. M. Hangos and I. T. Cameron, “Process Modelling and Model Analysis”, Academic Press, 2001.

2. W.L.  Luyben, “Process Modelling, Simulation and Control for Chemical Engineers”, 2nd Edn., McGraw Hill Book Co., New York, 1990.

3. W. F. Ramirez, “Computational Methods for Process Simulation”, Butterworths, 1995.

REFERENCES:

1. Mark E. Davis, “Numerical Methods and Modelling for Chemical Engineers”, John Wiley & Sons, 1984.

2. Singiresu S. Rao, “Applied Numerical Methods for Engineers and Scientists” Prentice Hall, Upper Saddle River, NJ, 2001

CL652 COMPUTER CONTROL OF PROCESS

Computer control – Introduction – Review of Z Transform, Modified Z Transform and Delta Transform. Relation between Discrete and Continuous Transfer function-Poles and Zeros of Sampled Data System (SDS) – Stability Analysis in Z domain

Introduction to Pulse Transfer function- Open loop and closed loop response of SDS- Design and implementation of different digital control algorithm: Dead beat, Dahlin, Smith predictor and Internal Model Control algorithm with examples.

Different Models of Discrete System: LTI System:- Family of Discrete Transfer function Models- State Space models- Distributed Parameter Model.   Models for Time varying and Non-linear System: Linear Time varying models- Non-linear State space models- Non-linear Black Box Models- Fuzzy Models

Parameter Estimation Methods: General Principles- Minimizing Prediction errors- Linear Regression and the Least Square method- Statistical Frame work for Parameter Estimation and the Maximum Likely hood method- Instrument Variable method – Recursive and Weighted Least square method

Adaptive Control: Introduction -Deterministic Self Tuning Regulator: Indirect and Direct self tuning regulator-Model reference Adaptive system: Design of MRAS using Lyapnov and MIT Rule- Auto tuning and Gain scheduling adaptive control design with examples.

TEXT BOOK:

1. Lennart Ljung- System Identification Theory for the user – PTR Printice Hall Information and system sciences Series, NJ, 1999.

2. P. Deshponde and  Ash, Computer Controlled System ISA Press, USA

3. Richard H. Middleton and Graham C. Goodwin ‘Digital Control and Estimation  A Unified Approach’Printice Hall NJ, 1990

4. Dale E. Seborg, Thomas F. Edgar, Duncan A. Mellichamp,’ Process Dynamics and Control Willey India, 2006.

5. Astrom .K. J, Bjorn Wittenmark, Adaptive Control, Second Edition, Prentice Hall of India, New Delhi, 1994.

CL 654 INDUSTRIAL COMMUNICATION SYSTEMS
Interface: Introduction, Principles of interface, serial interface and its standards. Parallel interfaces and buses.

Fieldbus: Use of fieldbuses in industrial plants, functions, international standards, performance, use of Ethernet networks, fieldbus advantages and disadvantages. Fieldbus design, installation, economics and documentation. 

Instrumentation network design and upgrade: Instrumentation design goals, cost optimal and accurate sensor networks. Global system architectures, advantages and limitations of open networks, HART network and Foundation fieldbus network.

PROFIBUS-PA: Basics, architecture, model, network design and system configuration. Designing PROFIBUS-PA and Foundation Fieldbus segments: general considerations, network design.

TEXT BOOKS/REFERENCES

1. Noltingk B.E., “Instrumentation Reference Book”, 2nd Edition, Butterworth Heinemann, 1995.

2. B.G. Liptak, Process software and digital networks, 3rd Edition, CRC press, Florida.

CL 656 SYSTEM IDENTIFICATION
Introduction to system identification: identification based on differential equations, Laplace transforms, frequency responses, difference equations. Signals and system concepts, stationarity, auto-correlation, cross-correlation, power spectra. Random and deterministic signals for system identification: pulse, step, pseudo random binary sequence (PRBS).

Nonparametric model estimation: Correlation and spectral analysis for non-parametric model identification, obtaining estimates of the plant impulse, step and frequency responses from identification data. 

Prediction-Error Model Structures: parametric estimation using one-step ahead prediction error model structures and estimation techniques for ARX, ARMAX, Box-Jenkins, FIR, Output Error models. Residual analysis for determining adequacy of the estimated models.

Nonlinear system identification: Similarities and differences from linear system identification, Development of nonlinear black-box models (Volterra, NARX, NARMAX, Wiener, Hammerstein). 

Closed-Loop Identification: nonparametric closed-loop identification via correlation and spectral analysis. Identification with closed-loop data using indirect and direct approaches. Relay auto tuning.

 Case studies using MATLAB/System Identification toolbox.

TEXT BOOKS:
Nelles, O.  Nonlinear System Identification, Springer-Verlag, Berlin, 2001, ISBN: 3-54067369-5.

Zhu, Y. Multivariable System Identification for Process Control, Pergamon, 2001, ISBN: 0-08-043985-3.

Ljung, L. System Identification: Theory for the User, 2nd Edition, Prentice-Hall, 1999, ISBN 0-13-656695-2.

B.A. Ogunnaike and W.H. Ray, Process Dynamics, Modeling, and Control, Oxford University Press, ISBN 0-19-1994, 509119-1.

ELECTIVE SUBJECTS
CL 661 CHEMICAL PROCESS SYSTEMS

Typical products and their and uses, Systematic analysis of chemical processes. Flow sheets and symbols for various operations. Variation in process conditions, raw materials and fuels – effect on end products and economy.

Overall Balances, Component balances in engineering equipment, combustion reactions, Stoichiometric balances in manufacturing processes.

Forms of energy, Total balance, Heat balance, Heat effects and combustion reactions, Energy balances in manufacturing processes, optimum utilization of energy, Heat transfer operations in chemical reactors. Equipments- Fundamental concepts in heat exchangers, Evaporators and distillation column, Design and classification of heat exchangers, Evaporators and distillation column.

Fundamental principles and classification of heat exchangers, Evaporators, Distillation columns and equipment for Agitation and mixing of fluids dimensional analysis to estimate power consumption for agitation.

Energy Conservation in process systems and industries, Optimization principles and pinch analysis to calculate energy consumption.

TEXT BOOK:

1. W.L. McCabe, J.C. Smith and P. Harriott, “Unit Operations of Chemical Engineering”, sixth Edition, McGraw Hill, 2001.

2. Walter L.Badger and Julivst. Banchero “Introduction to Chemical Engineering”, Tata McGraw Hill publishing company, 1997
REFERENCES:

2. L.B. Anderson and L.A. Wenzel, “Introduction to Chemical Engineering”, McGraw Hill, 1961.

3. P.Harriot, “Process Control”, McGraw Hill, 1984.
4. D.A. Reay, “Industrial Energy Conservation”, McGraw-Hill, New York, 1979.
CL 663 PROCESS DYNAMICS

Basic equation - Integral and instantaneous balances - Material and Energy balances - General form of dynamic models. - Linearization of nonlinear systems in state space form - Response of lead-lag modules -Self-regulating system –transfer function analysis of higher order systems.

A second order system- Pole-Zero cancellation- System in series – Blocks in parallel- linear boundary value problems- Parameter estimation of discrete linear systems. 

Phase-plane analysis- generalization of phase-plane behavior-nonlinear systems-Introduction to nonlinear dynamics-bifurcation behaviour of systems 

Stirred tank heaters-Absorption-isothermal continuous stirred tank chemical reactors Biochemical reactors-adiabatic continuous stirred tank reactor-ideal binary distillation columns.

TEXT BOOKS:

1. B.W. Bequette, “ Process Dynamics – Modeling, Analysis and Simulation”, PHIPE, New Delhi

2. G. Stephanopoulos, “Chemical process control: An Introduction to Theory and practice”, Prentice Hall of India (P) Ltd., New Delhi, 1995.

REFERENCE:

1. 
F.G.Shinsky, “Process Control Systems: Application, Design and Adjustment”, 3rd Edition, McGraw Hill Book Co., New York, 1988.
CL 665 INSTRUMENTATION FOR ENVIRONMENTAL ANALYSIS

Electromagnetic radiation, Characteristics - Interaction of e.m. radiation with matter - Spectral methods of analysis - absorption spectroscopy - Beer’s law - radiation sources - monochromators and filters - diffraction grating - ultraviolet spectrometer - single beam and double beam instruments.

Particles emitted in radioactive decay - nuclear radiation detectors - injection chamber - Geiger - Muller counter - proportional counter - scintillation counter - Semiconductor detectors.

Measurement techniques for water quality parameters - conductivity - temperature - turbidity.  Measurement techniques for chemical pollutants - chloride - sulphides - nitrates and nitrites - phosphates - fluoride - phenolic compounds.

Measurement techniques for particulate matter in air. Measurement of oxides of sulphur, oxides of nitrogen unburnt hydrocarbons, carbon-monoxide, dust mist and fog.

Noise pollution – measurement of sound, tollarable levels of sound. Measurement of sound level. Measurement techniques for soil pollution.

TEXT BOOKS:

1.  H.H. Willard, Merrit and Dean, “Instrumental Methods of Analysis”, 5th Edn., 1974.

2.  R.K. Jain, “Fundamentals of Mechanical and Industrial Instrumentation”, 1985.

REFERENCES:

1. S.P. Mahajan, “Pollution Control in Process Industries”, Tata McGraw Hill, 1985.

2.   G. N. Pandey and G.C. Carney, “Environmental Engineering”, Tata McGraw-Hill, 1989.

CL 658 DISTILLATION CONTROL
Introduction to distillation operations - Binary separation concepts - McCabe - Thiele diagram - other parameters in binary distillation - Introduction to multicomponent separation - Minimum reflux - Number of plates calculations.

Classification of control schemes for distillation - Control of XD and XB upsets in F and XF - Control of XD and XB for upsets in F and XF - Choice of temperature measurement to infer composition.

Process identification - frequency response - Controller tuning.  Dead time compensation - Smith and analytical predictors.  Feed forward, cascade and Parallel Cascade control for distillation columns. 

Dynamic modelling and simulation. Pairing and Interaction in distillation - Proper pairing in single and dual composition control- Relative Gain Analysis - Decoupling for non-interacting control.

Inferential Control Schemes for distillation.  Model Algorithmic Control - DMC control strategy - comparison of MAC with classical feedback design. Adaptive control.

TEXT BOOKS:

1.  P.B. Deshpande,  “Distillation Dynamics and Control”, ISA, 1985

2.  W.L. MaCabe, J.C.Smith and P. Harriott, “Operations of Chemical Engineering”, Fifth Edn., McGraw Hill, 1993.

REFERENCES:

1. F.G. Shinskey, “Distillation Control”, McGraw Hill, 1977. 

2. P.S. Buckley, W.L.Luyben, P.S. Shunta and, “Design of Distillation Column Control Systems”, ISA, 1985.

CL 660 BIOPROCESS INSTRUMENTATION & CONTROL

Physical and chemical sensors; Biosensors; On-line sensors for cell properties; off-line Analytical methods.

Agitation and capacity coefficient in fermenters; Control of pH, dissolved oxygen, dissolved carbon dioxide, temperature of fermenters; Rheological measurement and control application of microcomputers in the study of microbial process.

Elements of Digital computers; Computer Interfaces and peripheral devices; Fermentation software systems

Data smoothing and interpolation; State and parameter estimation; Direct regulatory control; cascade control of metabolism.

Programmed batch bio-reaction; Design and operation strategies for batch plants; Continuous process control.

Text Books:

1.  Bailey J.E. and Ollis,D.F. “ Biochemical Engineering Fundamentals” 2nd Edition,  (1986),  McGraw Hill Book CO.,Singapore.

2.  T.K.Ghose (Ed.) “Process Computations in Biotechnology” (1994), Tata McGraw Hill Publ.Co.,N.Delhi.

3.  A.Fischer (Ed.), “Advances in Biochemical Engineering,” Vol. 13, 1973, Springer Verlag, Germany

References:

1.  Aiba, Humphry and  Millis, “Bio Chemical Engineering”,  2nd Ed., (1973),  Academic press

2.  McNeil and Harvey, “Fermentation - A Practical Approach” (1990). IRL Press, U.K.
Scragg, “Bioreactors in Biotechnology - A Practical Approach” (1991), Ellis Horwood  Ltd., U.K.

3.  CL 662 FUZZY LOGIC, NEURAL NETWORKS AND CONTROL

Introduction to Neural Networks: Artificial Neural Networks: Basic properties of Neurons, Neuron Models, Feedforward networks – Perceptrons, widrow-Hoff LMS algorithm; Multilayer networks – Exact and approximate representation, Back propagation algorithm, variants of Back propagation, Unsupervised and Reinforcement learning; Symmetric Hopfield networks and Associative memory; Competitive learning and self organizing networks, Hybrid Learning; Computational complexity of ANNs.

Neural Networks Based Control: ANN based control: Introduction: Representation and identification, modeling the plant, control structures – supervised control, Model reference control, Internal model control, Predictive control: Examples – Inferential estimation of viscosity an chemical process, Auto – turning feedback control, industrial distillation tower.

Introduction to Fuzzy Logic: Fuzzy Controllers: Preliminaries – Fuzzy sets and Basic notions – Fuzzy relation calculations – Fuzzy members – Indices of Fuzziness – comparison of Fuzzy quantities – Methods of determination of membership functions.

Fuzzy Logic Based Control: Fuzzy Controllers: Preliminaries – Fuzzy sets in commercial products – basic construction of fuzzy controller – Analysis of static properties of fuzzy controller – Analysis of dynamic properties of fuzzy controller – simulation studies – case studies – fuzzy control for smart cars.

Neuro –  Fuzzy and Fuzzy – Neural Controllers: Neuro – fuzzy systems: A unified approximate reasoning approach – Construction of role bases by self learning: System structure and learning algorithm – A hybrid neural network based Fuzzy controller with self learning teacher.  Fuzzified CMAC and RBF network based self-learning controllers.

TEXT BOOKS:

1. Bose and Liang, Artificial Neural Networks, Tata Mcgraw Hill, 1996.

2. Kosco B, Neural Networks and Fuzzy Systems: A Dynamic Approach to Machine Intelligence, Prentice Hall of India, New Delhi, 1992.

REFERENCES:

1. Klir G.J and Folger T.A, Fuzzy sets, Uncertainty and Information, Prentice Hall of India, New Delhi 1994.
2. Simon Haykin, Neural Networks, ISA, Research Triangle Park, 1995.
CL 664 INTERNET FOR MEASUREMENT AND CONTROL
Introduction to Internet: Origin of Internet – Overview of TCP / IP layers – IP addressing – DNS – Packet switching – Routing – SMTP, POP, MIME, NNTP, ftp, Telnet, HTML, HTTP, URL, SNMP, RFCs, FYIs – STDs.

Physical Layer Aspects:  Backbone network – Trunks, Routers, Bridges – Access network – MODEMs, WILL, ISDN, XDSL, VSAT.

Network Layer Aspects and Network Security: IPVG, Mobile IP – IPSEC – IPSO – Public key cryptography – digital signature standard – firewall – Secure socket Layer SSL – Secure Data Network System SDNS – Network layer security Protocol NLSP – Point to point Tunneling Protocol PPTP – SHTTP.

Measurements through Internet:  Web based data acquisition – Monitoring of plant parameters through Internet – Calibration of measuring instruments through Internet.

Internet based Control:  Virtual laboratory – Web based Control – Tuning of controllers through Internet.

REFERENCES:

1. Douglas E. Camer, Internet working with TCP/IP, Vol. I, Third Edition, Prentice Hall, 1999.

2. Richard Stevens, TCP/IP illustrated, Vol. I, Addison Wesley, 1999.

3. Richard E. Smith, Internet Cryptography, Addison Wesley, 1999.

4. Alessandri Ferrero and Vincenzo Piuri, A simulation Tool for Virtual Laboratory Experiments in WWW environment, IEEE Transactions on IM, Vol. 48, 1999.
5. Kang B. Lee and Richard D. Schneeman, Internet-based Distributed Measurement and Control    Application, IEEE magazine IM, June 1999.
CL 666   LOGIC AND DISTRIBUTED CONTROL SYSTEMS

Review of computers in process control:  Data loggers, Data Acquisition Systems (DAS), Direct Digital Control (DDC).  Supervisory Control and Data Acquisition Systems (SCADA), sampling considerations. Functional block diagram of computer control systems. alarms, interrupts. Characteristics of digital data, controller software, linearization. Digital controller modes:  Error, proportional, derivative and composite controller modes.

Programmable logic controller (PLC) basics: Definition, overview of PLC systems, input/output modules, power supplies, isolators. General PLC programming procedures, programming on-off inputs/ outputs. Auxiliary commands and functions: PLC Basic Functions:  Register basics, timer functions, counter functions.

PLC intermediate functions:  Arithmetic functions, number comparison functions, Skip and MCR functions, data move systems. PLC Advanced intermediate functions:  Utilizing digital bits, sequencer functions, matrix functions.  PLC Advanced functions:  Alternate programming languages, analog PLC operation, networking of PLC, PLC-PID functions, PLC installation, troubleshooting and maintenance,  design of interlocks and alarms using PLC. Creating ladder diagrams from process control descriptions. 

Interface and backplane bus standards for instrumentation systems. Field bus: Introduction, concept. HART protocol: Method of operation, structure, operating conditions and applications. Smart transmitters, examples, smart valves and smart actuators.

Distributed control systems (DCS):  Definition, Local Control (LCU) architecture, LCU languages, LCU - Process interfacing issues, communication facilities, configuration of DCS, displays, redundancy concept - case studies in DCS.

TEXT BOOKS:

1. John. W.Webb Ronald A Reis , Programmable Logic  Controllers - Principles and Applications, Third edition, Prentice Hall Inc., New Jersey, 1995.

2. Lukcas M.P Distributed Control Systems, Van Nostrand Reinhold Co., New York, 1986. 

REFERENCES:

1. Deshpande P.B and Ash R.H, Elements of Process Control Applications, ISA Press, New York, 1995.

2. Curtis D. Johnson, Process Control Instrumentation Technology, Fourth edition, Prentice Hall of India, New Delhi, 1999.

CL 667 COMPUTER NETWORKS

Computer communications architecture:  Network topology; Switching: Circuit switching and packet switching; Datagrams and virtual circuits; ISO reference model for layered architecture; Functions of various layers.

Local area networks: Objectives and advantages of PC LANs; Topologies for LANs; Media for LANs; Medium access control techniques: CSMA, CSMA/CD, Token bus and token ring; Performance analysis for LANs.

Internetworking:  Basic principles; Bridges and routers; Connection oriented and connectionless internetworking. Introduction to the protocols in the TCP/IP protocol suite.  

ISDN and B – ISDN; Frame relay and asynchronous transfer mode (ATM). Data compression. Data security and authentication techniques.

Network management, Electrical mail, Network security, other internet applications. Test techniques for data networks: Basic tests; transmission impairment measurement tests; Time domain reflectometry (TDR). Line monitors and protocol analyzers.

TEXT BOOKS:

1. Stalling W, Data and Computer Communications, Fifth edition, Prentice Hall of India, New Delhi, 1997.

2. William Stallings, High-speed Networks-TCP/IP and ATM Design Principles, Prentice Hall International Edition, New Jersey, 1998.

REFERENCES:

1. Ed Taylor, McGraw -Hill Internetworking Handbook, Second edition, McGraw Hill Company Inc., New York, 1998.

2. Bertsekas D and Gallager. R, Data Networks, Second edition, Prentice Hall of India, New Delhi, 1992.

CL 668 MULTISENSOR DATA FUSION

Multisensor data fusion: Introduction, sensors and sensor data, Use of multiple sensors, Fusion applications. The inference hierarchy: output data. Data fusion model.  Architectural concepts and issues. Benefits of data fusion, Mathematical tools used: Algorithms, co-ordinate transformations, rigid body motion. Dependability and Markov chains, Meta – heuristics.

Taxonomy of algorithms for multisensor data fusion. Data association. Identity declaration.

Estimation: Kalman filtering, practical aspects of Kalman filtering, extended Kalmal filters.  Decision level identify fusion.  Knowledge based approaches.

Data information filter, extended information filter. Decentralized and scalable decentralized estimation. Sensor fusion and approximate agreement. Optimal sensor fusion using range trees recursively. Distributed dynamic sensor fusion.

High performance data structures: Tessellated, trees, graphs and function. Representing ranges and uncertainty in data structures. Designing optimal sensor systems with in dependability bounds.  Implementing data fusion system.

TEXT BOOKS:

1. David L. Hall, Mathematical techniques in Multisensor data fusion, Artech House, Boston, 1992.

2. R.R. Brooks and S.S. Iyengar, Multisensor Fusion: Fundamentals and Applications with Software, Prentice Hall Inc., New Jersey, 1998.

REFERENCES:

1. Arthur Gelb, Applied Optimal Estimation, The M.I.T. Press, 1982.

2. James V. Candy, Signal Processing: The Model Based Approach, McGraw –Hill Book Company, 1987.

CL 669 OPTIMAL CONTROL THEORY

Problem formulation – Mathematical model – Physical constraints - Performance measure Optimal control problem.  Form of optimal control.  Performance measures for optimal control problem. Selection a performance measure.

Dynamic Programming – Optimal control law – Principle of optimality.  An optimal control system. A recurrence relation of dynamic programming – computational procedure. Characteristics of dynamic programming solution. Hamilton – Jacobi – Bellman equation. Continuous linear regulator problems.

Calculus of variations – Fundamental concepts. Functionals. Piecewise – smooth extremals Constrained extrema.

Variational approach to optimal control problems – Necessary conditions for optimal control – Linear regulator problems. Linear tracking problems.  Pontryagin’s minimum principle and state inequality constraints.

Minimum time problems – Minimum control – effort problems.  Singular intervals in optimal control problems. Numerical determination of optimal trajectories – Two point boundary – valve problems. Methods of steepest decent, variation of extremals.  Quasilinearization. Gradient projection algorithm.

TEXTBOOK:

1. Donald E. Kirk, Optimal Control Theory: An Introduction, Prentice-Hall networks series, 1970.

REFERENCES:

1. Anderson .B. D. O, Moore .J. B, Optimal control linear Quadratic methods, Prentice Hall of India, New Delhi, 1991.

2. Sage A. P, White .C. C, Optimum Systems Control, Second Edition, Prentice Hall, 1977.

CL 670 STOCASTIC PROCESSES AND ESTIMATION THEORY

Introduction to Probability, Random variables. Discrete probability distribution functions. Cumulative, Joint and conditional probability density and distribution functions.  Statistical Independence, Vector random variables.  Expectation of a random variable, characteristic function, Central limit theorem.  

Random Processes:  Ensemble, examples of random processes, Markov chains, random walk and difference equations, Hidden Markov processes. Correlation. Stationary random processes. Properties of autocorrelation function.  Random sequences.  Cross correlation functions by ensemble averaging properties. Power spectral density function. Cross spectral density functions.  Ergodic random processes.

Estimation: Introduction, development of parameter estimators, estimation of stochastic processes, applications. Least – square estimation. Linear least squares problem, generalized least square problem. Sequential least squares, non-linear least squares theory.

Characteristics of estimators: Sufficient statistics, Good estimators. Analysis of estimation errors. Mean square and minimum variance estimators.  

Maximum a posteriori and maximum likelihood estimators.  Numerical solution of least – squares and maximum likelihood estimation problems.  Sequential estimators and some asymptotic properties.

TEXT BOOKS:

1. Childers, Probability and random processes, The McGraw-Hill companies Inc., 1997.

2. Harold W. Sorenson, Parameter Estimation, Principles and Problems, Marcel Dekker Inc., 1980.

CL 671 BIOPROCESS ENGINEERING

General requirements of fermentation processes-  An overview of aerobic and anaerobic fermentation processes and their application in industry - Medium requirements for fermentation processes - examples of simple and complex media -  Design and usage of commercial media for industrial fermentation. Sterilization: Thermal death kinetics of micro-organisms - Batch and Continuous Heat-Sterilization of liquid Media- Filter Sterilization of Liquid Media and Air.

Enzymes: Classification and properties-Applied enzyme catalysis - Kinetics of enzyme catalytic reactions-Metabolic pathways - Protein synthesis in cells.

Stoichiometry of microbial growth, Substrate utilization and product formation-Batch and Continuous culture, Fed batch culture               
Operating considerations for bioreactors for suspension and immobilized cultures, Selection, scale-up, operation of bioreactors-Mass Transfer in heterogeneous biochemical reaction systems; Oxygen transfer in submerged fermentation processes; oxygen uptake rates and determination of oxygen transfer rates and coefficients; role of aeration and agitation in oxygen transfer. Heat transfer processes in Biological systems. Recovery and purification of products.

measurement of physical and chemical parameters in bioreactors- Monitoring and control of dissolved oxygen, pH, impeller speed and temperature in a stirred tank fermenter.
TEXT BOOKS:

 1. M.L.  Shuler and F. Kargi, "Bio-process Engineering", 2 Ed., Prentice Hall of India., New Delhi. 2002.

 2. J.E. Bailey and D.F. Ollis," Biochemical Engineering Fundamentals", 2nd Edn., McGraw Hill Publishing Co. New York, 1985.

REFERENCES:

1. P.Stanbury, A. Whitakar and S.J.Hall, "  Principles of Fermentation Technology" 2nd  Edn.,  Elsevier-Pergamon  Press, 1995.

CL 672 DIGITAL CONTROL SYSTEM DESIGN

Discrete time signals, Discrete time systems, Sampling and reconstruction, digitizing analog controllers.

Discrete time state equations, discrete time system response, the characteristic value problem, Uncoupling state equations, Observability and controllability.

Observability and state observation, Estimation and identification, Controllability and state control, State feedback, Output feedback.

Full order state observer, Observer design, Lower-order observers, Eigenvalue placement with observer feedback.

Ideal tracking system design, Response model tracking system design, Reference model tracking system design.

REFERENCES:

1. Gene H. Hostetter, Digital Control System, Second Edition Holt,Rinehart and Winston, Inc.U.S, 1997.

2. Ogata K, Discrete Time Control Systems, Pearson Education, 2001.
3. Gopal M, Digital Control and State variable Methods, Second Edition, Tata McGrawHill, New Delhi, 2003.
CL 673 DISCRETE OUTPUT FEEDBACK CONTROL 

Lifting discrete-Time signals, Lifting Discrete time systems, fast discretization of SD systems, Design Examples, Simulation of SD systems.

Lifting continuous time signals, lifting open loop systems, lifting SD feedback systems. 

Periodic output feedback control law, controller design and applications, Fast output feedback control law, controller design and applications, Simultaneous control using periodic and fast output control.

Sliding motion, Properties in the sliding mode. 

 Methods of hyper plane design, VSC design based on state and output feedback. Applications: Manipulator control, Flexible structure control.

REFERENCES:

1. Tongwen Chen and Bruce Francis, “Optimal Sampled – Data Control Systems”, Springer-verlag London Limited, 1995.

2. Gene H. Hostetter, “Digital control system design”, Second Edition Holt,Rinehart and Winston, Inc.U.S, 1997.

3. Vadim I. Utkin, “Sliding modes in control and optimization”, Springer-verlag, US 1992.

4. A.S.I. Zinober,” Deterministic control of uncertain systems”, Peter Peregrinus Ltd. London, 1990.

CL 674 CHEMICAL PROCESS FLOWSHEETING
Flowsheeting
Introduction, Symbols, Flowsheet presentation with examples, Manual flowsheet calculation,Constrains and their applications in flowsheet calculations, Types of flow sheets, Synthesis of steady state flow sheet, Flowsheeting software.

Sequential modular approach to flowsheeting

Solution, partitioning and tearing a flowsheet, convergence of tear streams with suitable

example.

Flowsheeting by equation solving methods

Selection, decision and tearing of variables in a flowsheet with simple and complex examples

Flowsheet applications  

P & I D development, typical stages of P & I D, Applications of P & I D in design stage - Construction stage - Commissioning stage - Operating stage - Revamping stage - Applications of P & I D in HAZOPS and Risk analysis.

TEXT BOOKS:

1.  Ernest E. Ludwig, “Applied Process Design for Chemical and Petrochemical Plants”, Vol.-I Gulf Publishing Company, Houston, 1989.

2.  Max. S. Peters and K.D.Timmerhaus, “Plant Design and Economics for Chemical Engineers”, McGraw Hill, Inc., New York, 1991.

REFERENCES:

1.  Anil Kumar,”Chemical Process Synthesis and Engineering Design”, Tata McGraw Hill publishing Company Limited, New Delhi - 1981.

2.  A.N. Westerberg, et al., “Process Flowsheeting”, Cambridge University Press, 1979.

CL 675 REAL TIME AND EMBEDDED SYSTEM

System Design: Definitions, Classifications and brief overview of micro-controllers, microprocessors and DSPs. Embedded processor architectural definitions. Typical application scenarios of embedded systems.

Interface Issues Related to Embedded Systems: A/D, D/A converters, timers, actuators, power, FPGA, ASIC, diagnostic port.

Techniques for Embedded Systems: State Machine and state tables in embedded design, Simulation and Emulation of embedded systems. High-level language descriptions of S/W for embedded system, Java embedded system design.

Real time Models, Language and Operating Systems: Event based, process based and graph based models, Petrinet models – Real time languages – The real time kernel, OS tasks, task state4s, task scheduling, interrupt processing, clocking communication and synchronization, control blocks, memory requirements and control, kernel services.

Case Studies: Discussion of specific examples of complete embedded systems using mc68 HC11, mc8051, ADSP2181, PIC series of microcontroller.

TEXT BOOK AND REFERENCES:

1. Ball S.R, Embedded microprocessor systems – Real World Design, Prentice Hall, 1996.

2. Herma K, Real Time Systems – Design for Distributed Embedded Applications, Kluwer Academic, 1997.

3. Gassle J, Art of Programming Embedded Systems, Academic Press, 1992.

4. Gajski D.D, Vahid F, Narayan S, Specification and Design of Embedded Systems, PRT Prentice Hall, 1994.

5. Intel manual on 16-bit embedded controllers, Santa Clara, 1991.

6. Slater M, Microprocessor based design, a Comprehensive guide to effective hardware design, Prentice Hall, New Jersey, 1989.

7. Peatman, J.B, Design with Micro controllers, McGraw Hill International Ltd., Singapore, 1989.

8. C.M. Krishna, Kang G. Shin, Real Time Systems, McGraw Hill, 1997.

9. Raymond J.A. Buhr, Donald L. Bailey, An Introduction to Real Time Systems, Prentice Hall International, 1999.

CL 676 VIRTUAL INSTRUMENTATION

Virtual Instrumentation: Historical perspective, advantages, block diagram and architecture of a virtual instrument, data-flow techniques, graphical programming in data flow, comparison with conventional programming. Development of Virtual Instrument using GUI, Real-time systems, Embedded Controller, OPC, HMI / SCADA software, Active X programming.


VI programming techniques: VIS and sub-VIS, loops and charts, arrays, clusters and graphs, case and sequence structures, formula nodes, local and global variables, string and file I/O, Instrument Drivers, Publishing measurement data in the web.


Data acquisition basics: Introduction to data acquisition on PC, Sampling fundamentals, Input/Output techniques and buses. ADC, DAC, Digital I/O, counters and timers, DMA, Software and hardware installation, Calibration, Resolution, Data acquisition interface requirements.


VI Chassis requirements. Common Instrument Interfaces: Current loop, RS 232C/ RS485, GPIB. Bus Interfaces: USB, PCMCIA, VXI, SCSI, PCI, PXI, Firewire. PXI system controllers, Ethernet control of PXI. Networking basics for office & Industrial applications, VISA and IVI.
VI toolsets, distributed I/O modules. Application of Virtual Instrumentation: Instrument Control, Development of Process database management system, Simulation of systems using VI, Development of Control system, Industrial Communication, Image acquisition and processing, Motion Control.
TEXTBOOKS:

1. Gary Johnson, LabVIEW Graphical Programming, Second edition, McGraw Hill, Newyork, 1997.
2. Lisa K. wells & Jeffrey Travis, LabVIEW for everyone, Prentice Hall, New Jersey, 1997.
REFERENCES:

1. Kevin James, PC Interfacing and Data Acquisition: Techniques for Measurement, Instrumentation and Control, Newnes, 2000.

WEB RESOURCES:

www.ni.com
www.ltrpub.com
CL 677 ADAPTIVE CONTROL

System Identification: Introduction, dynamic systems, models, system identification procedure. Simulation and Prediction. Non-parametric time and frequency domain methods.

Linear dynamic system Identification: Overview, excitation signals, general model structure, time series models, models with output feedback, models without output feedback. Convergence and consistency. 
Parameter estimation methods, minimizing prediction errors, linear regressions and Least squares method, Instrumental – variable method, prediction error method. Recursive algorithms. Closed-loop Identification.

Adaptive Control: Close loop and open loop adaptive control. Self-tuning controller. Auto tuning for PID controllers: Relay feedback, pattern recognition, correlation technique.

Adaptive Smith predictor control: Auto-tuning and self-tuning Smith predictor. Adaptive advanced control: Pole placement control, minimum variance control, generalized predictive control.

TEXT BOOKS:

1. Ljung .L, System Identification: Theory for the user, Prentice Hall, Englewood Cliffs, 1987.

2. Astrom .K, Adaptive Control, Second Edition, Pearson Education Asia Pte Ltd, 2002.

REFERENCES:

1. Chang C. Hong, Tong H. Lee and Weng K. Ho, Adaptive Control, ISA press, Research Triangle Park, 1993.

2. Nelles. O, Nonlinear System Identification, Springer Verlag, Berlin, 2001.

CL 678 MICROELECTRO-MECHANICAL SYSTEMS

Introduction, emergence, devices and application, scaling issues, materials for MEMS, Thin film deposition, lithography and etching.

Bulk micro machining: Introduction, etch-stop techniques, dry etching, buried oxide process, silicon fusion bonding, and anodic bonding. 

Surface micro machining: Introduction, sacrificial layer technology, material systems in sacrificial layer technology, plasma etching, combined IC technology and anisotropic wet etching. 

Microstereolithography: Introduction, Scanning Method, Projection Method, Applications. LIGA Process: Introduction, Basic Process and Application 

MEMS devices, electronic interfaces, design, simulation and layout of MEMS devices using CAD tools.  

TEXT BOOKS:
1. S.M. Sze, Semiconductor Sensors, John Wiley & Sons, INC., 1994.

2. M.Elwenspoek, R.Wiegerink, Mechanical Microsensors, Springer-Verlag Berlin Heidelberg, 2001.

REFERENCES:

1. Massood Tabib-Azar, Microactuators - Electrical, Magnetic, Thermal, Optical, Mechanical, Chemical and Smart structures, Kluwer Academic Publishers, New York, 1997.

2. Eric Udd, Fiber Optic Smart Structures, John Wiley & Sons, New York, 1995.

CL 679 ADVANCED APPLIED PROCESS CONTROL
Control relevant process modeling and identification: Model applications, types of models, empirical dynamic models, model structure considerations, model identification.

Identification examples: SISO furnace parametric model identification, MISO parametric model identification, MISO non-parametric identification of a non-integrating process, MIMO identification of an integrating and non-integrating process, design of plant experiments, conversion of model structures.

Linear multivariable control: Interaction in multivariable systems, Dynamic matrix control, properties of commercial MPC packages.

Multivariable optimal constraint control algorithm: Model formulation for systems with dead time, model formulation for multivariable processes with and without time delays, model formulation in case of a limited control horizon, Non-linear transformations.

Nonlinear multivariable control: Non-linear model predictive control, non-linear quadratic DMC, generic model control, GMC application to chemical engineering systems, one step reference trajectory control. 

TEXT BOOKS/REFERENCES:

1.  B. Roffel, B.H.L. Betlem, “Advanced Practical Process Control” Springer, 2004.

2.  Jean Pierre Corriou, “Process Control: Theory and applications” Springer, 2004.

3.  C.A.  Smith and A.B. Corrupio," Principles and Practice of Automotive Process Control", John Wiley, New York, 1976

CL680 PIPING AND INSTRUMENTATION 
P&I Diagram objectives. Industry Codes and Standard. Government regulations
Engineering fluid diagrams. Electrical diagrams. Electronic diagrams. Logic diagrams.
DCS diagrams. Construction diagrams.
Format. Equipment. Instrumentation and Controls.
Application of P&I diagrams in HAZOPS and Risk analysis
Laboratory: Students are required to produce P&I Diagrams using software packages during the laboratory period of the course.
References:

1. Industry Codes and Standards

2. American National Standards Institute (ANSI)

a. ANSI/FCI 70-2-2003 – Control Valve Seat Leakage

3. American Society of Mechanical Engineers (ASME)

a. ASME Boiler and Pressure Vessel Code. Section VIII – Pressure Vessels

4. The Instrumentation, Systems, and Automation Society (ISA)

a. ISA 5.1 – Instrumentation Symbols and Identification

b. ISA 5.2 – Binary Logic Diagrams for Process Operations

c. ISA 5.3 – Graphic Symbols for Distributed Control / Shared Display

5. Instrumentation, Logic and Computer Systems

a. ISA 84.01 – Application of Safety Instrumented Systems for the Process

Industries

6. Tubular Exchanger Manufacturers Association (TEMA)

a. TEMA Standards

7. Government Regulations

8. Occupational Safety and Health Administration (OSHA)

a. OSHA 29 CFR 1910.119 – Occupational Safety and Health Standards, Process Safety Management of Highly Hazardous Chemicals
CL681 MODELING WITH DATA

DISTRIBUTIONS FOR DESCRIPTIONS

Moments, Sample distributions, Non-Parametric description.
LINEAR PROJECTIONS

Principal Component Analysis, Ordinary Least Squares and Generalized Least Squares, Discrete Variables, Multilevel Modelling.
HYPOTHESIS TESTING WITH CENTRAL LIMIT THEOREM

The Central Limit Theorem, The Gaussian family, Testing a Hypothesis, Analysis of Variance, Regression, Goodness of fit.
MAXIMUM LIKELIHOOD ESTIMATION

Log likelihood and related topics, Maximum Likelihood Estimators, Missing Data, Testing with Likelihoods.
MONTE CARLO

Random number generation, Statistics for a Distribution, Statistics for a Parameter, Drawing a Distribution, Non-Parametric Testing.
TEXTBOOK: 
Klemens, B., Modelling with Data, Princeton Univ. Press., 2009. (Cheaper Indian Edition is available from Universities Press)

CL683 PROBABILITY AND COMPUTING

Events and Probability: Verifying Polynomial Identities, Verifying Matrix Multiplication, A Randomized min-cut Algorithm.
Discrete Random Variables and  Expectations: The Bernoulli and Binomial Random variables, Conditional Expectation, The Geometric Distribution, The Expected Run-time of Quick-Sort.
Moments and Deviations: Markov’s Inequality, Variance and Moments of a Random Variable, Chebyshev’s Inequality, A Randomized Algorithm for Computing the Median.
Chernoff Bounds: Moment Generating Functions, Deriving and Applying Chernoff Bounds, Better Bounds for Special cases.

Balls, Bins and Random Graphs: Poisson Distribution,  Poisson Approximation, Hashing, Random Graphs

The Probabilistic Method: Basic Counting Argument, Expectation Argument, De randomization using Conditional Expectations, Sample and Modify, Second Moment Method, The Conditional Expectation Inequality, Lovasz Local Lemma.
Markov Chains and Random walks: Definition and Representations, Classification of States, Stationary Distributions, Random walks on undirected Graphs.
Continuous Distributions and The Poisson Process: Continuous Random variables, Uniform Distribution, Exponential Distribution, Poisson Process, Continuous Time Markov Processes, Markovian Queues.

Entropy, Randomness and Information: The Entropy Function, Entropy and Binomial Coefficients, A measure of Randomness, Compression

The Monte Carlo Method, The DNF Counting Problem, From Approximate Sampling to Approximate Counting, The Markov Chain Monte Carlo Method.
TEXTBOOK:
Mitzenmacher M, & Upfal E., Probability and Computing, Cambridge Univ. Press,2005. (Cheaper Indian Edition is available)

CL685 COMPUTATIONAL TECHNIQUES IN CONTROL ENGINEERING

Review of Linear Algebra – Vector spaces, Orthogonality, Matrices, Vector and Matrix Norms, Kronecker Product

Numerical Linear Algebra – Floating point numbers and errors in computations, Conditioning, Efficiency, Stability, and Accuracy, LU Factorization, Numerical solution of the Linear system Ax = b, QR factorization, Orthogonal projections, Least Squares problem, Singular Value Decomposition, Canonical forms obtained via orthogonal transformations.

Control Systems Analysis – Linear State-space models and solutions of the state equations, Controllability, Observability, Stability, Inertia, and Robust Stability, Numerical solutions and conditioning of Lyapunov and Sylvester equations.

Control Systems Design – Feedback stabilization, Eigenvalue assignment, Optimal Control, Quadratic optimization problems, Algebraic Riccati equations, Numerical methods and conditioning, State estimation and Kalman filter.

Large scale Matrix computations, Some Selected Software – MATLAB, MATHEMATICA, SCILAB.

TEXTBOOKS/REFERENCES/RESOURCES:
1. B.N. Datta, Numerical Methods for Linear Control Systems, Academic Press/Elsevier, 2005 (Low cost Indian edition available including CD ROM).

2. G.H. Golub & C.F. Van Loan, Matrix Computations, 4/e, John Hopkins University Press, 2007 (Low cost Indian edition available from Hindustan Book Agency)

3. A. Quarteroni, F. Saleri, Scientific Computing with MATLAB, Springer Verlag, 2003.

4. www.scilab.org/download/
PAGE  
2
Department of Chemical Engineering 


_1139918530.bin

