16.Temperature Indicator(Thermister based):  Linearises the out put of thermistors

Alphanumeric display with adjustable background contrast

Datalogging software through a software and RS232

Temperature units:  oC, oF, oK

Display resolution :  0.01oC

Display update 1per sec

##### A/D resolution : 16 bit