- DATA ACQUISITION SYSTEM FOR TEMPERATURE

System with provision to plug up to 3 Modules, With VFD display, GPIB & RS 232C interfaces in addition to Ext trigger and alarm O/P

Measurements:

DC volts		: up to 300 with 100 nV resolution

AC volts		: true RMS up to 300 with 300 kHz BW

Temperature 	: RTD, thermistor and thermocouples (J, K, S, T)

2 & 4 wire resistance measurement

System Characteristics:

Speed		: >100 rdgs/sec

Scanning inputs	: analog and digital

Memory		: 50,000 with time stamp and real time clock

Data logger - capable of working as standalone or be controlled from a PC through USB interface

USB interface should support Windows 2000 or XP and supplied with a 4 m GPIB cable

Max speed		: 700 kB/s

Input channels 	: 20, Configurable as 2 wire or 4 wire

Multiplexer	:  Armature Mux 60 Ch/sec scan speed

Max input 		: 300 V, 1 A max.

Input channels 	: 16, Configurable as 2 wire or 4 wire

Max input 		: 300 V, 1 A max.

GP Actuator/Switch	: 20 channels SPDT switch

Calibration certificates, traceable to National / International standards.