- THERMOCOUPLE AND FINE WIRE WELDER

For attaching thermocouples to any surface

Suitable for J, K, T and other types of thermocouples

Welding mode	: capacitor discharge / resistance welding

Purge gas		: argon/inert gas

Wire diameter	: 0.1 to 1.1 mm

Argon/inert gas cylinder for use with the welder