11. Piezo resistive Pressure Transducer (0-1 bar)

Relative pressure transducer for measuring static and dynamic relative pressure.

Range 				-	0 –1 bar

Sensitivity          			-	500 mV/bar

Linearity				-	+ 0.3% FSO

Overload				-	2.5 bar

Operating  temperature range	-	20-120 o C

Construction			-	Flush diaphragm

Reference				-	Relative

Excitation				-	Constant current of 2-5 mA

Volume Change                      	-            <0.2 mm3

Shock Resistance                    	-           1000 g

Connector                              	 -           Fischer Type SE 102A053