# 12. Specific Gravity Balance

Range                                     :    120g

Resolution                              :     0.1 mg

Pan size        (minimun)         :        80 mm

Internal calibration when temperature change is detected.

Computer interface                :  RS232 and  software loaded in the machine to export data

To Windows Directly

Accessories:

Specific gravity kit for liquids and solids

Standard calibration weights