13. Ultrasonic Leak Detector

Ultrasonic leakage detector with standard airborne ultrasonic detection with an internal 	sensor. Primarily used for compressed air leak and vacuum leak detection.

Measuring range -10 dBµV to 120 dBµV;

Accuracy ± 0.5 dBµV

Measuring resolution 0.1 dBµV

Signal to noise ratio: –5 dBµV typical

Band width (-3dB) 2 kHz

Frequency range 0 to 200 kHz depending on the sensor

Auto power down after pre set time