14.  Compressed air flow meter

Used for measuring the flow of compressed air. Provided with a plurality of precision 	machined orifice plugs.

Range                                      :  10 to  800 CFM

also fitted with orifices for measuring   100,200,400 CFM and 10, 15, 25 and 50 CFM for fine 	tuning the flow measurement

Accuracy of measurement        :  + 2%