15. Precision Thermometer (Thermister Based)

System accuracy: 	+0.115oC from 0oC to 50oC

+ 0.275oC at 100oC

+ 0.720oC at 150oC

#### Resolution   		: .01oC from –40 to 102oC and

#### 0.02oC from 102 to 150oC

###### Readings update  : two times per second

Display               :  41/2 digit LCD

RS232 Output

Accessories:  RS232 Cable, Carrying case, Battery eliminator 220V,

stainless steel tubular probe, high temperature surface probe.