17.  Thermister probes, Comonents, Bead thermister:

- Thermister component  0-70oC interchangeable +0.2oC

- Thermistor probe: 3mm dia stainless steel tubular probes with 1/8’’ NPT fittings, working temperatue –80 to 200oC, with + 0.2oC interchangeable tolerance from 0 to 70oC, probe length 1.5 inch, round TFE teflon cable leads, cable length 120’’ ¼” phone plug termination.

- Bird gage air probe: typical time const 1 sec, -80 to 200C working temperature, + 0.2oC inter changeability tolerance.

Bead thermister: time constant 0.12 sec, continuous operation 325oC, Dimension as per drawings. Any one mounting options are acceptable