TECHNICAL SPECIFICATAIONS

Item 1: Water cooler with water purifier assembly

Water purifier capacity 120 liters per hour minimum

Item 2: Vacuum cleaner

Domestic model

Item 3: Water Distillation Unit

10 liters per hour capacity with two coils

Item 4: Digital Camera

6.2 mega pixels, 5x optical zoom/4x digital zoom and auto focus.