MET / SRS / SEPTEMBER 2004

PROCESS METALLURGY / PROCESS MODELING LABORATORY

FACILITIES AVAILABLE include:

- Viscometer (room temperature) (Brookfield)

- Standard oils for a range of viscosities (Brookfield)

- Furnace (1100 C) (Semco)

- Fume Hood (ICF) – under installation

- Simple equipment for Mineral Processing

- Non – contact Pyrometers for 500 C and 1500 C (Raytex)

- Digital Camera (Olympus)

- Hand – held data acquisition systems (RISH)

- Personal Computers (Dell) with accessories

- Software for Statistical Process Control (CFR – SPC)

- Software for Thermodynamic calculations (Thermo-Calc) RECENT

- Databases for Thermodynamic calculations (Thermo-Calc) RECENT

- Industrial samples of slags, ores and related materials

The said laboratory has a monetary value of Rs.18 Lakhs (on replacement basis).

Related Additions expected over the next 18 months (with sanctioned funds) include:

- Further modules of thermodynamic software / databases

- Minor equipment for mineral processing

- (AAS (DST grant to the department) for chemical analysis)

- (FT-IR (TEQIP funded central facility) for structural analysis)